How to use the OI DriverUninstall Utility

1: Double click DriverUninstall.bat

- This may open a cmd window shortly. Ignore it.

- The application may request administrator privileges. Click Yes if prompted.

2: Select the device driver brand:

Click the Driver Choice: dropdown tab and select the company’s drivers that needs to be removed. In this example Global Water (GWI) drivers will be removed.

3: Hit scan for drivers

Once the desired company name is chosen press the Scan for Drivers button to automatically search for the company’s drivers.

If drivers are found they will be presented as seen below:

4: If drivers were found press the DELETE button to remove them. To keep the listed drivers press CANCEL.

5: If the uninstallation was successful "Driver oemxxx.inf deleted successfully" will appear for each driver.

6: Press QUIT to exit the application.